## How to Use
HOW TO USE: ALARM AND TRIP SET POINT LIST
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. List every alarm and trip from the cause and effect, P&IDs and alarm philosophy.
2. Enter the instrument range so set points can be checked against it.
3. Fill LL, L, H and HH (leave empty if not used), the trip system and the action.
4. Set priority, deadband and delay according to your alarm philosophy (for example EEMUA 191 or ISA 18.2).
5. Fix every row that shows CHECK, then issue the list for configuration and loop checks.
What the formulas do
• Set point check is OK when LL < L < H < HH (ignoring empty values) and all values lie within the range.
• Counts of rows needing correction and of SIS trips.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
ALARM AND TRIP SET POINT LIST
Company: Your Company Name / Logo | [7 empty] | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Document
Plant / unit | [7 empty] | Revision
Date | [7 empty] | Reference
Set point list
Tag | Description | Unit | Range min | Range max | LL | L | H | HH | Trip system | Action on trip / alarm | Priority | Deadband | Delay (s) | Set point check | Remarks
Rows with set point errors | [13 empty] | 0
SIS trips listed | [13 empty] | 0
Process |  |  |  |  | Instrumentation |  |  |  |  | Operations
Name: |  |  |  |  | Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date: |  |  |  |  | Date:

## Example
ALARM AND TRIP SET POINT LIST
Company: ABC Process Industries Ltd | [7 empty] | Doc no: ATL 001 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Document
Plant / unit |  |  |  | Utilities, unit 100 |  |  |  | Revision |  |  |  | C
Date |  |  |  | 2026-10-12 |  |  |  | Reference |  |  |  | Alarm philosophy AP 001
Set point list
Tag | Description | Unit | Range min | Range max | LL | L | H | HH | Trip system | Action on trip / alarm | Priority | Deadband | Delay (s) | Set point check | Remarks
PT 1101 | Steam header pressure | bar g | 0 | 16 |  | 4 | 13 | 14.5 | SIS | HH: trip burner fuel valves | Critical | 0.2 | 2 | OK
TT 2101 | Reactor jacket outlet temperature | °C | 0 | 200 |  |  | 150 | 165 | DCS | HH: close steam valve TV 2101 | High | 1 | 5 | OK
LT 4102 | Storage tank level | m | 0 | 12 | 0.8 | 1.5 | 10.5 | 11.2 | SIS | HH: close XV 4101; LL: stop pump P 401 | Critical | 0.05 | 3 | OK
FT 3101 | Feed flow | m³/h | 0 | 120 |  | 15 | 95 |  | None | Operator action | Medium | 2 | 10 | OK
PDT 3105 | Filter differential pressure | mbar | 0 | 500 |  |  | 350 | 300 | None | Change filter | Low | 10 | 30 | CHECK | Example of an error: HH below H
Rows with set point errors | [13 empty] | 1
SIS trips listed | [13 empty] | 2
Process |  |  |  |  | Instrumentation |  |  |  |  | Operations
Name: |  |  |  |  | Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date: |  |  |  |  | Date: