## How to Use
HOW TO USE: LIQUID ANALYSER DATA SHEET (PH, CONDUCTIVITY, ORP, DO)
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. Choose the measurement and installation type.
2. Describe the sample: pressure, temperature, range, solids and coating risk.
3. Specify sensor, materials and cleaning.
4. Define outputs and diagnostics.
5. List calibration kits and spares.
What the formulas do
• No formulas: specification document laid out in sections like an ISA 20 style data sheet.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
LIQUID ANALYSER DATA SHEET (PH, CONDUCTIVITY, ORP, DO)
Company: Your Company Name / Logo |  |  | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Document
Project |  |  | Revision
Date |  |  | Requisition no
Specification
No | Parameter |  | Value | Unit / notes
General
1 | Tag number
2 | Measurement (pH, conductivity, ORP, DO)
3 | Service
4 | Installation (in line, insertion, immersion)
5 | Hazardous area
Process
6 | Fluid / sample
7 | Pressure / temperature
8 | Expected range
9 | Solids, oil or coating risk
10 | Flow velocity
Sensor
11 | Sensor type
12 | Measuring range
13 | Wetted materials
14 | Temperature sensor
15 | Cleaning system
16 | Retractable assembly
Transmitter
17 | Outputs
18 | Power supply
19 | Display and diagnostics
20 | Enclosure (IP) / mounting
Accessories
21 | Calibration kit and buffers
22 | Spare sensors
Purchase
23 | Manufacturer / model
24 | Quantity
Coating and solids decide sensor life. State them clearly so the vendor can offer cleaning and retractable assemblies.
Prepared by |  | Checked by | Approved by
Name: |  | Name: | Name:
Signature: |  | Signature: | Signature:
Date: |  | Date: | Date:

## Example
LIQUID ANALYSER DATA SHEET (PH, CONDUCTIVITY, ORP, DO)
Company: ABC Process Industries Ltd |  |  | Doc no: DS AT 01 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Document
Project |  | Boiler 3 upgrade | Revision | A
Date |  | 2026-10-24 | Requisition no | REQ INST 036
Specification
No | Parameter |  | Value |  | Unit / notes
General
1 | Tag number |  | AT 5101
2 | Measurement (pH, conductivity, ORP, DO) |  | pH
3 | Service |  | Effluent neutralisation
4 | Installation (in line, insertion, immersion) |  | Insertion, retractable
5 | Hazardous area |  | Safe area
Process
6 | Fluid / sample |  | Effluent water
7 | Pressure / temperature |  | 2 / 40 |  | bar g / °C
8 | Expected range |  | pH 2 to 12
9 | Solids, oil or coating risk |  | Some solids, oil traces
10 | Flow velocity |  | 1 |  | m/s
Sensor
11 | Sensor type |  | Glass electrode, double junction
12 | Measuring range |  | pH 0 to 14
13 | Wetted materials |  | PVDF, glass
14 | Temperature sensor |  | Pt1000
15 | Cleaning system |  | Spray cleaning, timer
16 | Retractable assembly |  | Yes
Transmitter
17 | Outputs |  | 4 to 20 mA HART, 2 relays
18 | Power supply |  | 24 V DC
19 | Display and diagnostics |  | Slope and offset diagnostics
20 | Enclosure (IP) / mounting |  | IP66, panel
Accessories
21 | Calibration kit and buffers |  | pH 4, 7, 10 buffers
22 | Spare sensors |  | 2 |  | no
Purchase
23 | Manufacturer / model |  | Vendor to specify
24 | Quantity |  | 1 |  | no
Coating and solids decide sensor life. State them clearly so the vendor can offer cleaning and retractable assemblies.
Prepared by |  | Checked by | Approved by
Name: |  | Name: | Name:
Signature: |  | Signature: | Signature:
Date: |  | Date: | Date: