## How to Use
HOW TO USE: SAFETY BYPASS AND OVERRIDE REGISTER
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. Add a row as soon as a trip, alarm or interlock is bypassed, with the reason, approval and compensating measures.
2. Set a planned removal date.
3. Enter the removal date when the bypass is taken off; status changes to Closed.
4. Review the register every shift: OVERDUE and REVIEW items need action.
5. Long or repeated bypasses should be raised as an MOC.
What the formulas do
• Days open = today (or removal date) − applied date.
• Status: Closed when removed; OVERDUE after the planned removal date; REVIEW when open longer than the review limit; otherwise Open.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
SAFETY BYPASS AND OVERRIDE REGISTER
Company: Your Company Name / Logo | [5 empty] | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Register
Plant / unit | [5 empty] | Register owner
Maximum days without review | [5 empty] | Procedure
Bypasses and overrides
Tag / function | Description | Reason | Applied | Planned removal | Removed | Days open | Compensating measures | Approved by | Status | SIS? | MOC no | Notes
Active bypasses | [10 empty] | 0
Overdue | [10 empty] | 0
SIS bypasses active | [10 empty] | 0
Shift supervisor | [5 empty] | Area authority
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date:
Formulas:
Days open = IF([Applied]="","",IF([Removed]="",TODAY()-[Applied],[Removed]-[Applied]))
Status = IF([Applied]="","",IF([Removed]<>"","Closed",IF(AND([Planned removal]<>"",TODAY()>[Planned removal]),"OVERDUE",IF([Days open]>D7,"REVIEW","Open"))))

## Example
SAFETY BYPASS AND OVERRIDE REGISTER
Company: ABC Process Industries Ltd | [5 empty] | Doc no: BYP REG 001 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Register
Plant / unit |  |  | Boiler house |  |  | Register owner |  |  | Shift supervisor
Maximum days without review |  |  | 7 |  |  | Procedure |  |  | Bypass procedure BP 001
Bypasses and overrides
Tag / function | Description | Reason | Applied | Planned removal | Removed | Days open | Compensating measures | Approved by | Status | SIS? | MOC no | Notes
PSHH 1101 | Steam header HH trip | Transmitter replacement | 2026-10-22 | 2026-10-25 |  | 2 | Operator at panel, PT 1101 B/C in 1oo2 | Area authority | Open | Yes
LAL 4102 | Tank low level alarm | Faulty switch | 2026-10-12 | 2026-10-19 |  | 12 | Hourly field check of level | Shift supervisor | OVERDUE | No
XV 4101 PST | Partial stroke test inhibit | Valve maintenance | 2026-10-04 | 2026-10-09 | 2026-10-08 | 4 | Valve locked open | Area authority | Closed | Yes
Active bypasses | [10 empty] | 2
Overdue | [10 empty] | 1
SIS bypasses active | [10 empty] | 1
Shift supervisor | [5 empty] | Area authority
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date:
Formulas:
Register owner = IF([Boiler house]="","",IF([Removed]="",TODAY()-[Boiler house],[Removed]-[Boiler house]))
Shift supervisor = IF([Boiler house]="","",IF([Removed]<>"","Closed",IF(AND([Planned removal]<>"",TODAY()>[Planned removal]),"OVERDUE",IF([Register owner]>D7,"REVIEW","Open"))))