## How to Use
HOW TO USE: CAUSE AND EFFECT MATRIX
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. List the effects (final elements and alarms) in the first table: E1 to E8.
2. Enter each cause with its tag, description, set point and voting.
3. Put X in every effect column the cause must trigger.
4. Check the Effects column: CHECK means a cause has no effect assigned.
5. Review with process, instrumentation and safety, then use it as the basis for SIS logic testing.
What the formulas do
• Effects per cause = COUNTIF of X across E1 to E8; shows CHECK when zero.
• Causes without any effect are counted at the bottom.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
CAUSE AND EFFECT MATRIX
Company: Your Company Name / Logo | [6 empty] | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Document
Plant / unit | [6 empty] | Revision
Date | [6 empty] | Logic solver
Effects (columns of the matrix)
Effect |  | Tag |  | Action |  | Description
E1
E2
E3
E4
E5
E6
E7
E8
Matrix: mark X where the cause triggers the effect
No | Cause tag | Cause description | Set point | Unit | Voting | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | Effects
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Causes without any effect | [5 empty] | E8: 0
Process |  |  |  |  | Instrumentation | E5: Safety
Name: |  |  |  |  | Name: | E5: Name:
Signature: |  |  |  |  | Signature: | E5: Signature:
Date: |  |  |  |  | Date: | E5: Date:

## Example
CAUSE AND EFFECT MATRIX
Company: ABC Process Industries Ltd | [6 empty] | Doc no: C&E 100 01 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Document
Plant / unit |  |  |  | Boiler 3 and tank farm |  |  | Revision |  |  |  | B
Date |  |  |  | 2026-10-12 |  |  | Logic solver |  |  |  | SIS SR 01
Effects (columns of the matrix)
Effect |  | Tag |  | Action |  | Description
E1 |  | XV 4101 |  | Close |  | Tank inlet shutdown valve
E2 |  | P 401 |  | Stop |  | Transfer pump
E3 |  | XV 4105 |  | Close |  | Tank outlet valve
E4 |  | BV 1101 |  | Close |  | Burner fuel valves
E5 |  | BL 101 |  | Stop |  | Combustion air blower
E6 |  | AL 01 |  | Sound |  | Control room horn
E7
E8
Matrix: mark X where the cause triggers the effect
No | Cause tag | Cause description | Set point | Unit | Voting | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | Effects
1 | LSHH 4103 | Tank high high level | 11.2 | m | 1oo1 | [8 empty] | 2 | bar: E1; E6
2 | LT 4102 | Tank low low level | 0.8 | m | 1oo1 | [8 empty] | 3 | bar: E2 to E3; E6
3 | PT 1101 A/B/C | Steam header pressure high high | 14.5 | bar g | 2oo3 | [8 empty] | 3 | bar: E4 to E6
4 | BSL 101 | Flame failure |  |  | 1oo2 | [8 empty] | 2 | bar: E4; E6
5 | HS 100 | Emergency stop push button |  |  | 1oo1 | [8 empty] | 6 | bar: E1 to E6
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Causes without any effect | [5 empty] | E8: 0
Process |  |  |  |  | Instrumentation | E5: Safety
Name: |  |  |  |  | Name: | E5: Name:
Signature: |  |  |  |  | Signature: | E5: Signature:
Date: |  |  |  |  | Date: | E5: Date: