## How to Use
HOW TO USE: EARTHING RESISTANCE TEST RECORD
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. Enter the tester and interval.
2. For each point, enter the limit from your design.
3. Test with the stated method and record the reading.
4. Failed points need maintenance and retest.
5. Next due date is calculated automatically.
What the formulas do
• Result = PASS if measured ≤ limit.
• Next due = test date + interval.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
EARTHING RESISTANCE TEST RECORD
Company: Your Company Name / Logo |  |  |  |  | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Test details
Site / plant |  |  |  |  | Earth tester and cert. no
Test interval (months) |  |  |  |  | Season / soil
Earthing results
No | Earth point | Description | Type | Method | Measured (Ω) | Limit (Ω) | Result | Test date | Next due | Remarks
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Points tested | [8 empty] | 0
Points failed | [8 empty] | 0
Set limits from your earthing design and standards (for example the IS earth connection limit in IEC 60079-14). Test in dry season to find the worst case.
Tested by |  |  |  |  | Approved by
Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date:
Formulas:
Next due = IF([Test date]="","",EDATE([Test date],C7))

## Example
EARTHING RESISTANCE TEST RECORD
Company: ABC Process Industries Ltd |  |  |  |  | Doc no: EARTH TEST 001 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Test details
Site / plant |  | Utilities area |  |  | Earth tester and cert. no |  | Earth tester, CC 24803
Test interval (months) |  | 12 |  |  | Season / soil |  | Dry season
Earthing results
No | Earth point | Description | Type | Method | Measured (Ω) | Limit (Ω) | Result | Test date | Next due | Remarks
1 | EP 01 | Main instrument earth pit | Earth pit | Fall of potential | 0.8 | 1 | PASS | 2026-10-20 | 2027-10-20
2 | ISE 01 | IS earth bar to main earth | IS earth | Continuity | 0.3 | 1 | PASS | 2026-10-20 | 2027-10-20
3 | EP 04 | Tank farm earth pit | Earth pit | Fall of potential | 6.4 | 5 | FAIL | 2026-10-20 | 2027-10-20 | Add electrode, water pit
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Points tested | [8 empty] | 3
Points failed | [8 empty] | 1
Set limits from your earthing design and standards (for example the IS earth connection limit in IEC 60079-14). Test in dry season to find the worst case.
Tested by |  |  |  |  | Approved by
Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date:
Formulas:
Next due = IF([Test date]="","",EDATE([Test date],C7))