## How to Use
HOW TO USE: GAS DETECTOR CALIBRATION RECORD
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. Set the acceptance tolerance and calibration interval from your gas detection procedure.
2. For each detector enter the test gas concentration and cylinder number.
3. Record the as found reading (bump test) before adjustment, then the as left reading after calibration.
4. Results and next due dates are calculated.
5. Investigate bump test failures: the detector might not have alarmed correctly in service.
What the formulas do
• Error % = (reading − test gas) ÷ test gas × 100.
• PASS if ¦error¦ ≤ tolerance.
• Next due = date + interval.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
GAS DETECTOR CALIBRATION RECORD
Company: Your Company Name / Logo | [6 empty] | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Calibration details
Area | [6 empty] | Acceptance tolerance (± % of test gas)
Calibration interval (months) | [6 empty] | Calibration kit
Detectors
Tag | Gas | Range | Test gas conc. | Cylinder no | As found | As found error % | Bump test | As left | As left | Date | Next due | By | Remarks
Detectors tested | [11 empty] | 0
Bump test failures | [11 empty] | 0
As left failures | [11 empty] | 0
Calibrated by | [6 empty] | Checked by
Name: | [6 empty] | Name:
Signature: | [6 empty] | Signature:
Date: | [6 empty] | Date:
Formulas:
Next due = IF([Date]="","",EDATE([Date],E7))

## Example
GAS DETECTOR CALIBRATION RECORD
Company: ABC Process Industries Ltd | [6 empty] | Doc no: GD CAL 001 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Calibration details
Area |  |  |  | Compressor house |  |  | Acceptance tolerance (± % of test gas) |  |  |  | 10
Calibration interval (months) |  |  |  | 6 |  |  | Calibration kit |  |  |  | Cal gas kit CK 03
Detectors
Tag | Gas | Range | Test gas conc. | Cylinder no | As found | As found error % | Bump test | As left | As left | Date | Next due | By | Remarks
GD 2201 | CH4 | 0 to 100 % LEL | 50 | C 1182 | 47.5 | -5 | PASS | 50.2 | PASS | 2026-10-22 | 2027-04-22 | Tech C
GD 2202 | CH4 | 0 to 100 % LEL | 50 | C 1182 | 41 | -18 | FAIL | 49.8 | PASS | 2026-10-22 | 2027-04-22 | Tech C | Low response; recalibrated
GD 2301 | H2S | 0 to 50 ppm | 25 | C 0977 | 24.1 | -3.6 | PASS | 25 | PASS | 2026-10-22 | 2027-04-22 | Tech C
Detectors tested | [11 empty] | 3
Bump test failures | [11 empty] | 1
As left failures | [11 empty] | 0
Calibrated by | [6 empty] | Checked by
Name: | [6 empty] | Name:
Signature: | [6 empty] | Signature:
Date: | [6 empty] | Date:
Formulas:
Cal gas kit CK 03 = IF([Date]="","",EDATE([Date],E7))