## How to Use
HOW TO USE: INSTRUMENT INDEX
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. Enter one row per instrument tag, following ISA 5.1 tag numbering.
2. Fill the service description so an operator understands what is measured without opening the P&ID.
3. Link each tag to its data sheet, hook up and loop drawing numbers; these columns become the document cross reference.
4. Use the System and Location drop downs to keep values consistent, which makes filtering easy.
5. Issue the index with each project revision and highlight changed rows.
What the formulas do
• Total tags counts every filled tag number.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
INSTRUMENT INDEX
Company: Your Company Name / Logo | [7 empty] | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Project
Project | [7 empty] | Plant unit
Revision | [7 empty] | Date
Instrument index
Sr | Tag number | Service description | Instrument type | Line / equipment | P&ID number | Range min | Range max | Unit | Signal | System | Data sheet no | Hook up drawing | Loop drawing | Location | Remarks
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
Total tags | [13 empty] | 0
Prepared by |  |  |  |  | Checked by |  |  |  |  | Approved by
Name: |  |  |  |  | Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date: |  |  |  |  | Date:

## Example
INSTRUMENT INDEX
Company: ABC Process Industries Ltd | [7 empty] | Doc no: INST IDX 001 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Project
Project |  |  |  | Boiler 3 upgrade |  |  |  | Plant unit |  |  |  | Utilities, unit 100
Revision |  |  |  | B, issued for construction |  |  |  | Date |  |  |  | 2026-10-12
Instrument index
Sr | Tag number | Service description | Instrument type | Line / equipment | P&ID number | Range min | Range max | Unit | Signal | System | Data sheet no | Hook up drawing | Loop drawing | Location | Remarks
1 | PT 1101 | Steam header pressure | Pressure transmitter | 8" ST 1101 | PID 100 02 | 0 | 16 | bar g | 4 to 20 mA HART | DCS | DS PT 01 | HU PT 01 | LD 1101 | Field
2 | PSH 1105 | Air receiver high pressure | Pressure switch | V 1105 | PID 100 05 | 0 | 16 | bar g | Dry contact | PLC | DS PS 01 | HU PS 01 | LD 1105 | Field
3 | TT 2101 | Reactor jacket outlet temperature | Temperature transmitter + Pt100 | 4" CW 2101 | PID 200 01 | 0 | 200 | °C | 4 to 20 mA HART | DCS | DS TT 01 | HU TT 02 | LD 2101 | Field
4 | FT 3101 | Feed flow to column | Magnetic flowmeter | 3" P 3101 | PID 300 01 | 0 | 120 | m³/h | 4 to 20 mA HART | DCS | DS FT 01 | HU FT 03 | LD 3101 | Field
5 | FV 3101 | Feed flow control valve | Control valve, globe | 3" P 3101 | PID 300 01 | 0 | 100 | % | 4 to 20 mA HART | DCS | DS CV 01 | HU CV 01 | LD 3101 | Field
6 | LT 4102 | Storage tank level | Radar level transmitter | T 4102 | PID 400 02 | 0 | 12 | m | 4 to 20 mA HART | DCS | DS LT 02 | HU LT 05 | LD 4102 | Field
7 | LSHH 4103 | Storage tank high high level | Vibrating fork switch | T 4102 | PID 400 02 |  |  |  | NAMUR | SIS | DS LS 01 | HU LS 01 | LD 4103 | Field | SIL 1 overfill
8 | XV 4101 | Tank inlet shutdown valve | On/off ball valve | 6" P 4101 | PID 400 01 |  |  |  | 24 V DC SOV | SIS | DS XV 01 | HU XV 01 | LD 4101 | Field
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
Total tags | [13 empty] | 8
Prepared by |  |  |  |  | Checked by |  |  |  |  | Approved by
Name: |  |  |  |  | Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date: |  |  |  |  | Date: