## How to Use
HOW TO USE: INSTRUMENT MAINTENANCE LOG
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. Add one row per job with tag and work type.
2. Describe problem, cause and action briefly.
3. Record hours and parts.
4. Keep status up to date.
5. Review totals monthly: a high breakdown share signals weak preventive maintenance.
What the formulas do
• Totals count jobs by work type and sum hours.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
INSTRUMENT MAINTENANCE LOG
Company: Your Company Name / Logo | [5 empty] | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Log
Section | [5 empty] | Month
Shift system | [5 empty] | CMMS
Jobs
Date | Tag | Work type | Problem | Cause | Action | Hours | Parts used | WO no | By | Status | Remarks
Total hours | [9 empty] | 0
Breakdown jobs | [9 empty] | 0
Preventive and calibration jobs | [9 empty] | 0
Open jobs | [9 empty] | 0
Shift engineer | [5 empty] | Section head
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date:

## Example
INSTRUMENT MAINTENANCE LOG
Company: ABC Process Industries Ltd | [5 empty] | Doc no: MLOG 001 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Log
Section |  |  | Instrument maintenance |  |  | Month |  |  | October 2026
Shift system |  |  | General shift |  |  | CMMS |  |  | Work orders in CMMS
Jobs
Date | Tag | Work type | Problem | Cause | Action | Hours | Parts used | WO no | By | Status | Remarks
2026-10-20 | LT 2101 | Breakdown | Level reading high | Wet leg drained | Refilled wet leg, replaced vent valve | 2.5 | Needle valve | WO 8812 | Tech A | Closed
2026-10-21 | PT 1101 | Calibration | Scheduled |  | 5 point calibration, as found pass | 1.5 |  | WO 8820 | Tech B | Closed
2026-10-22 | FV 3101 | Breakdown | Valve hunting | Positioner feedback arm loose | Tightened arm, autotune | 1 |  | WO 8831 | Tech A | Closed
Total hours | [9 empty] | 5
Breakdown jobs | [9 empty] | 2
Preventive and calibration jobs | [9 empty] | 1
Open jobs | [9 empty] | 0
Shift engineer | [5 empty] | Section head
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date: