## How to Use
HOW TO USE: INSTRUMENT MATERIAL TAKE OFF (MTO)
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. List each bulk item once, with a full specification so the buyer can order without questions.
2. Count the quantity used in one hook up of each type from the hook up drawing.
3. Enter how many instruments use that hook up.
4. Set a wastage percentage for cut items such as tube and cable.
5. Order quantity rounds up automatically.
What the formulas do
• Total = quantity per hook up × number of hook ups.
• Order quantity = ROUNDUP(total × (1 + wastage % ÷ 100)).
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
INSTRUMENT MATERIAL TAKE OFF (MTO)
Company: Your Company Name / Logo |  |  |  |  | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Project
Project |  |  |  |  | Revision
Date |  |  |  |  | Basis
Material take off
Sr | Item | Specification | Material | Size | Unit | Qty per hook up | No of hook ups | Total qty | Wastage (%) | Order qty
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
Prepared by |  |  | Checked by |  |  | Approved by
Name: |  |  | Name: |  |  | Name:
Signature: |  |  | Signature: |  |  | Signature:
Date: |  |  | Date: |  |  | Date:

## Example
INSTRUMENT MATERIAL TAKE OFF (MTO)
Company: ABC Process Industries Ltd |  |  |  |  | Doc no: MTO INST 001 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Project
Project |  | Boiler 3 upgrade |  |  | Revision |  | A
Date |  | 2026-10-12 |  |  | Basis |  | Hook up drawings Rev B
Material take off
Sr | Item | Specification | Material | Size | Unit | Qty per hook up | No of hook ups | Total qty | Wastage (%) | Order qty
1 | Instrument tube | Seamless, ASTM A269, 0.035" wall | SS 316 | 1/2" OD | m | 6 | 14 | 84 | 10 | 93
2 | Male connector | Twin ferrule, tube x NPT(M) | SS 316 | 1/2" x 1/2" | no | 2 | 14 | 28 | 5 | 30
3 | 2 valve manifold | Block and bleed, 6000 psi | SS 316 | 1/2" NPT | no | 1 | 8 | 8 | 0 | 8
4 | 3 valve manifold | Integral, for DP transmitter | SS 316 | 1/2" NPT | no | 1 | 6 | 6 | 0 | 6
5 | Root valve | Needle valve, 6000 psi | SS 316 | 1/2" NPT | no | 2 | 6 | 12 | 0 | 12
6 | 2" pipe stand | Floor mounted, with base plate | Galvanised CS | 2" NB | no | 1 | 14 | 14 | 0 | 14
7 | Cable gland | Double compression, Ex d / Ex e | Nickel plated brass | M20 | no | 2 | 14 | 28 | 10 | 31
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
Prepared by |  |  | Checked by |  |  | Approved by
Name: |  |  | Name: |  |  | Name:
Signature: |  |  | Signature: |  |  | Signature:
Date: |  |  | Date: |  |  | Date: