## How to Use
HOW TO USE: INSTRUMENT PREVENTIVE MAINTENANCE SCHEDULE
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. Enter one row per instrument and task. An instrument can have several tasks with different frequencies.
2. Set the frequency in days (7 weekly, 30 monthly, 90 quarterly, 365 yearly).
3. After doing the work, update Last done, Done by and the work order number.
4. Next due, days left and status update every time the workbook recalculates.
5. Filter Status for OVERDUE and DUE SOON when planning the week.
What the formulas do
• Next due = last done + frequency (days).
• Days left = next due − today.
• Status OVERDUE below 0, DUE SOON within the warning period, otherwise OK.
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
INSTRUMENT PREVENTIVE MAINTENANCE SCHEDULE
Company: Your Company Name / Logo | [5 empty] | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Schedule
Plant / area | [5 empty] | Maintained by
Warning period (days) | [5 empty] | Last reviewed
Preventive maintenance tasks
Sr | Tag | Instrument type | PM task | Frequency (days) | Last done | Next due | Days left | Status | Done by | Work order | Remarks
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
Tasks listed | [9 empty] | 0
Overdue | [9 empty] | 0
Due within the warning period | [9 empty] | 0
Prepared by | [5 empty] | Approved by
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date:
Formulas:
Days left = IF([Next due]="","",[Next due]-TODAY())

## Example
INSTRUMENT PREVENTIVE MAINTENANCE SCHEDULE
Company: ABC Process Industries Ltd | [5 empty] | Doc no: PM INST 01 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Schedule
Plant / area |  |  | Utilities and boiler house |  |  | Maintained by |  |  | Instrument maintenance
Warning period (days) |  |  | 7 |  |  | Last reviewed |  |  | 2026-10-12
Preventive maintenance tasks
Sr | Tag | Instrument type | PM task | Frequency (days) | Last done | Next due | Days left | Status | Done by | Work order | Remarks
1 | PDT 3105 | DP transmitter (flow) | Drain and blow down impulse lines, check zero with equalising valve open | 30 | 2026-09-18 | 2026-10-18 | 5 | DUE SOON | Tech A | PM 1022
2 | AT 5101 | pH analyser | Clean electrode, 2 point buffer calibration (pH 4 and 7) | 7 | 2026-10-04 | 2026-10-11 | -2 | OVERDUE | Tech B | PM 1030
3 | FV 3101 | Control valve | Check air supply, leaks, packing, positioner diagnostics | 90 | 2026-09-03 | 2026-12-02 | 50 | OK | Tech A | PM 0988
4 | LT 4102 | Radar level | Inspect antenna for build up, check echo curve | 180 | 2026-04-18 | 2026-10-15 | 2 | DUE SOON | Tech C | PM 0815
5 | CP 03 | PLC panel | Clean filters, check fans, power supply voltages and earth connections | 90 | 2026-08-14 | 2026-11-12 | 30 | OK | Tech B | PM 0991
6 | XV 4101 | Shutdown valve | Partial stroke test and record stroke time | 90 | 2026-07-10 | 2026-10-08 | -5 | OVERDUE | Tech A | PM 0950 | Full proof test at turnaround
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
Tasks listed | [9 empty] | 6
Overdue | [9 empty] | 2
Due within the warning period | [9 empty] | 2
Prepared by | [5 empty] | Approved by
Name: | [5 empty] | Name:
Signature: | [5 empty] | Signature:
Date: | [5 empty] | Date:
Formulas:
Maintained by = IF(OR([Last done]="",[Frequency (days)]=""),"",[Last done]+[Frequency (days)])
Days left = IF([Maintained by]="","",[Maintained by]-TODAY())