## How to Use
HOW TO USE: I/O LIST WITH SPARE CALCULATION
Colour legend
Yellow cells: type your data here.
Grey cells: formulas. They calculate automatically; do not overwrite them.
Steps
1. Set the spare percentage at the top (20 % is a common project requirement).
2. Enter one row per signal. A motor typically has several rows (run feedback, trip, start, stop).
3. Choose the I/O type from the drop down so the counts work.
4. Allocate rack, slot and channel once the I/O cards are selected.
5. Use the totals with spare to decide how many I/O cards of each type to buy.
What the formulas do
• Count per type uses COUNTIF on the I/O type column.
• With spare = ROUNDUP(count × (1 + spare % ÷ 100)).
Sheets: "Template" is blank and ready to use. "Example" shows a completed form so you can see the expected format.
More free templates, calculators and tools: https://instrumentationblog.in/downloads/templates/

## Template
I/O LIST WITH SPARE CALCULATION
Company: Your Company Name / Logo | [6 empty] | Doc no: Rev:
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Project
Project | [6 empty] | Control system
Spare (%) | [6 empty] | Date
I/O list
Sr | Tag | Description | I/O type | Signal | Range min | Range max | Unit | Controller | Rack | Slot | Channel | IS | HART | Alarms / remarks
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
AI count / with spare | [12 empty] | 0 / 0
AO count / with spare | [12 empty] | 0 / 0
DI count / with spare | [12 empty] | 0 / 0
DO count / with spare | [12 empty] | 0 / 0
Total I/O / with spare | [12 empty] | 0 / 0
Prepared by |  |  |  |  | Checked by |  |  |  |  | Approved by
Name: |  |  |  |  | Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date: |  |  |  |  | Date:

## Example
I/O LIST WITH SPARE CALCULATION
Company: ABC Process Industries Ltd | [6 empty] | Doc no: IO LIST 001 Rev: 0
Yellow cells: enter data. Grey cells: calculated automatically. Free template from instrumentationblog.in
Project
Project |  |  |  | Boiler 3 upgrade |  |  | Control system |  |  |  | PLC CP 03
Spare (%) |  |  |  | 20 |  |  | Date |  |  |  | 2026-10-12
I/O list
Sr | Tag | Description | I/O type | Signal | Range min | Range max | Unit | Controller | Rack | Slot | Channel | IS | HART | Alarms / remarks
1 | PT 1101 | Steam header pressure | AI | 4 to 20 mA | 0 | 16 | bar g | CP 03 | 1 | 3 | 5 | N | Y | L 4, H 13, HH 14.5
2 | TT 2101 | Reactor jacket outlet temperature | AI | 4 to 20 mA | 0 | 200 | °C | CP 03 | 1 | 3 | 6 | N | Y | H 150
3 | FT 3101 | Feed flow | AI | 4 to 20 mA | 0 | 120 | m³/h | CP 03 | 1 | 3 | 7 | N | Y
4 | FV 3101 | Feed flow control valve | AO | 4 to 20 mA | 0 | 100 | % | CP 03 | 1 | 5 | 1 | N | Y
5 | PSH 1105 | Air receiver high pressure | DI | 24 V DC |  |  |  | CP 03 | 1 | 7 | 1 | N | N | Alarm on open
6 | P 101 RUN | Feed pump running feedback | DI | 24 V DC |  |  |  | CP 03 | 1 | 7 | 2 | N | N
7 | P 101 START | Feed pump start command | DO | 24 V DC relay |  |  |  | CP 03 | 1 | 9 | 1 | N | N
8 | XY 4101 | Tank inlet SDV solenoid | DO | 24 V DC |  |  |  | CP 03 | 1 | 9 | 2 | N | N | Energised in normal operation
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
AI count / with spare | [12 empty] | 3 / 4
AO count / with spare | [12 empty] | 1 / 2
DI count / with spare | [12 empty] | 2 / 3
DO count / with spare | [12 empty] | 2 / 3
Total I/O / with spare | [12 empty] | 8 / 12
Prepared by |  |  |  |  | Checked by |  |  |  |  | Approved by
Name: |  |  |  |  | Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date: |  |  |  |  | Date: